## cyclic voltammetry (CV)
cyclic voltammetry (CV)
Layer Label | Field Label | Value | Unit | Name | Type | from device? | Device source | Device data
Settings describing the measurement
| Operation mode | without motion |  | mode | select-operation_mode | No
| Atmosphere | nitrogen |  | atmosphere | select-atm | No
| Temperature | 22 | C | temperature | system-defined-temperature | No
| Separation | none |  | separation | select-separations | No
| Conditions | dark |  | conditions | select-conditions | No
| Wavelength |  |  | conditions_ill | text | No
| Comments |  |  | comments | text | No
Measurement details
| Internal reference | others |  | reference | select-reference_measure | No
| Other reference | none |  | reference_others | text | No
| No of cycles | 3 |  | cycles | integer | No
| Scan rate [V/s] | 0.1 |  | scan_rate | text | No
| Step size [V] | 0.005 |  | step_size | text | No
| Rotational rate [rpm] |  |  | rate | text | No
|  |  |  | 350ffc10-d3c9-11ec-92af-9bedac5a63c4 | dummy | No
| IR correction value [Ohm] |  |  | ir_two | text | No
| IR correction included |  |  | ir | checkbox | No
|  |  |  | 08cb0f30-d3cb-11ec-92af-9bedac5a63c4 | dummy | No
|  |  |  | afd69420-d3cb-11ec-92af-9bedac5a63c4 | dummy | No
|  |  |  | af499660-d3cb-11ec-92af-9bedac5a63c4 | dummy | No
|  |  |  | aee640b0-d3cb-11ec-92af-9bedac5a63c4 | dummy | No
| Voltage start [V] | 0,00000E+000 |  | voltage_start | text | No
| Voltage limit 1 [V] | -2,80000E+000 |  | voltage_limit_one | text | No
| Voltage limit 2 [V] | 4,00000E-001 |  | voltage_limit_two | text | No
| Voltage limit end [V] | 0,00000E+000 |  | voltage_limit_end | text | No
Plotting parameters
| Plotting convention | IUPAC |  | plotting_convention | select-plotting_conventions | No
| xunits |  |  | xunits | text | No
| yunits |  |  | yunits | text | No
| xfactor |  |  | xfactor | text | No
| yfactor |  |  | yfactor | text | No
| resolution |  |  | resolution | text | No
General information
| title |  |  | title | text | No
| data_type |  |  | data_type | text | No
| Date | 10.6.2022 |  | date | text | No
| Time | 13:31:56 |  | time | text | No
| Author | DHM |  | author | text | No
| Author ID |  |  | author_id | text | No
| Comments |  |  | comments | text | No
| operator | DHM |  | operator | text | No
Software used for data generation
| Software | Framework |  | software | text | No
| Software version | 7.8.6 |  | software_version | text | No
Additional equipment and devices
| Used electrodes | traditional |  | type | select-type | No
| ECSA method |  |  | ecsa_method | text | No
| Polishing method | eight figure |  | polishing_method | text | No
| Polishing material | Al2O3 |  | polishing_material | select-polishing_material | No
| Other materials |  |  | polishing_others | text | No
| Particle size | 5e-05 | mm | polishing_material_size | system-defined-length | No
|  |  |  | 665ec254-2c81-4411-a4cf-a9d0c363839e | dummy | No
| Chip brand |  |  | chip | select-chip_brand | No
| Chip type |  |  | chip_type | select-chip_type | No
| Working electrode (WE) | glassy carbon |  | working | select-working | No
| Other electrode |  |  | others_we | text | No
| WE-area [mm²] | 0.76 |  | working_area | text | No
| Counter electrode (CE) | platinum |  | counter | select-counter | No
| Other electrode |  |  | others_ce | text | No
| CE-area [mm²] |  |  | counter_area | text | No
| Reference electrode (RE) | Ag/AgNO3 in MeCN |  | reference | select-reference | No
| Other electrode |  |  | others_re | text | No
| RE-area [mm²] |  |  | reference_area | text | No
| Special coating |  |  | coating | checkbox | No
| Coating material |  |  | coating_details | text | No
Devices used for the measurement
| Brand | Gamry |  | brand | text | No
| Serial No | IFC1010-30147 |  | serial | text | No
| instrument | Potentiostat |  | instrument | text | No
Sample details
| Sample | "will come directly later from ELN" |  | sample | text | No
| Sample ID |  |  | sample_id | text | No
| Amount |  |  | amount | text | No
| Volume |  | ul | sample_volume | system-defined-volumes | No
| Sample Size |  |  | sample_size | text | No
Sample preparation
| Solvent | DMF dry |  | solvent | text | No
| Volume of solvent | 500 | ul | amount_sol | system-defined-volumes | No
| Concentration |  |  | concentration | system-defined-molarity | No
|  |  |  | 497af150-0c59-11ed-b3aa-79d0d8094e62 | dummy | No
| Supporting Electrolyte | TBA[PF6] |  | salt | select-salt | No
| Other salts |  |  | salt_others | text | No
| Amount electrolyte |  |  | amount_salt | system-defined-mass | No
| Concentration electrolyte | 0.1 | mol_l | concentration_salt | system-defined-molarity | No
| Purge electrolyte solution | TRUE |  | purge_sel | checkbox | No
| Purge gas |  |  | purge | select-atm | No
| Purge flow rate |  |  | purge_flow | system-defined-flow_rate | No
| Purge time |  |  | purge_time | system-defined-duration | No