## Description
File name | tet-198_cyclic_voltammetry_(CV).xlsx
Fields description of sheet:cyclic voltammetry (CV)
Fields | Field description
Layer Label | The label of the layer
Field Label | The label of the field
Value | The current value of the field
Unit | The unit of the field
Name | The key of the field, can be used to identify the field
Type | The type of the field
From device? | [Yes] if the field is from the device, [No] if the field is manually entered by the user, [SYS] if the field is automatically generated by the system
Device source | The source tag of the device file, available only if the ontology term is 1H NMR or 13C NMR
Device data | The original device data, can not be changed after data uploaded
(This file is automatically generated by the system.)

## cyclic voltammetry (CV)
cyclic voltammetry (CV)
Layer Label | Field Label | Value | Unit | Name | Type | from device? | Device source | Device data
General information
| label | tet-198 |  | label | text | SYS |  | tet-198
| id | 2690 |  | id | text | SYS |  | 2690
| Date | 2018-01-04 |  | date | text | Yes |  | 2018-01-04
| Time | 17:20:34 |  | time | text | Yes |  | 17:20:34
| Contributor |  |  | contributor | text | No
| Creator | te t |  | creator | text | SYS |  | te t
| operator |  |  | operator | text | No
| Comments | File053.pssession |  | comments | text | Yes |  | File053.pssession
Sample details
| label | tet-198 |  | label | text | SYS |  | tet-198
| id | 2690 |  | id | text | SYS |  | 2690
| Amount |  |  | amount | text | No
| Volume |  |  | sample_volume | system-defined-volumes | No
| Size |  |  | size | text | No
Sample preparation
| Solvent |  |  | solvent | text | No
| Volume of solvent |  |  | amount_sol | system-defined-volumes | No
| Concentration |  |  | concentration | system-defined-molarity | No
| Supporting Electrolyte |  |  | salt | select-salt | No
| Other salts |  |  | salt_others | text | No
| Amount electrolyte |  |  | amount_salt | system-defined-mass | No
| Concentration electrolyte |  |  | concentration_salt | system-defined-molarity | No
| Purge electrolyte solution |  |  | purge_sel | checkbox | No
| Purge gas |  |  | purge | select-atm | No
| Purge flow rate |  |  | purge_flow | system-defined-flow_rate | No
| Purge time |  |  | purge_time | system-defined-duration | No
Devices used for the measurement
| Brand |  |  | brand | text | No
| Serial No | ES3 16X965 |  | serial | text | Yes |  | ES3 16X965
| instrument |  |  | instrument | text | No
Additional equipment and devices
| Used electrodes |  |  | type | select-type | No
| ECSA method |  |  | ecsa_method | text | No
| Polishing method |  |  | polishing_method | text | No
| Polishing material |  |  | polishing_material | select-polishing_material | No
| Other materials |  |  | polishing_others | text | No
| Particle size |  |  | polishing_material_size | system-defined-length | No
| Chip brand |  |  | chip | select-chip_brand | No
| Chip type |  |  | chip_type | select-chip_type | No
| Working electrode (WE) | silver |  | working | select-working | No
| Other electrode |  |  | others_we | text | No
| WE-area [mm²] |  |  | working_area | text | No
| Counter electrode (CE) | gold |  | counter | select-counter | No
| Other electrode |  |  | others_ce | text | No
| CE-area [mm²] |  |  | counter_area | text | No
| Reference electrode (RE) | SCE |  | reference | select-reference | No
| Other electrode |  |  | others_re | text | No
| RE-area [mm²] |  |  | reference_area | text | No
| Special coating |  |  | coating | checkbox | No
| Coating material |  |  | coating_details | text | No
Settings describing the measurement
| Operation mode |  |  | mode | select-operation_mode | No
| Atmosphere | nitrogen |  | atmosphere | select-atm | No
| Temperature |  |  | temperature | system-defined-temperature | No
| Separation |  |  | separation | select-separations | No
| Conditions |  |  | conditions | select-conditions | No
| Wavelength |  |  | conditions_ill | text | No
| Comments |  |  | comments | text | No
Measurement details
| Internal reference |  |  | int_reference | select-reference_measure | No
| Other reference |  |  | reference_others | text | No
| No of cycles | 1 |  | cycles | integer | Yes |  | 1
| Scan rate [V/s] | 0.2 |  | scan_rate | text | Yes |  | 0.2
| Step size [V] | 0.01 |  | step_size | text | Yes |  | 0.01
| Rotational rate [rpm] |  |  | rate | text | No
| IR correction value [Ohm] |  |  | ir_two | text | No
| IR correction included |  |  | ir | checkbox | No
| Voltage start [V] | 0 |  | voltage_start | text | Yes |  | 0
| Voltage limit 1 [V] | 1.8 |  | voltage_limit_one | text | Yes |  | 1.8
| Voltage limit 2 [V] | -1.8 |  | voltage_limit_two | text | Yes |  | -1.8
| Voltage limit end [V] | 0.5 |  | voltage_limit_end | text | Yes |  | 0.5
Plotting parameters
| Plotting convention |  |  | plotting_convention | select-plotting_conventions | No
| xunits |  |  | xunits | text | No
| yunits |  |  | yunits | text | No
| xfactor |  |  | xfactor | text | No
| yfactor |  |  | yfactor | text | No
| resolution |  |  | resolution | text | No
Software used for data generation
| Software | PSTrace |  | software | text | Yes |  | PSTrace
| Software version | 5.3.1110.30560 |  | software_version | text | Yes |  | 5.3.1110.30560

## File053.1_bagit
Measurement type | Cyclic Voltammetry
Measurement type ID
Sample ID
Analysis ID
Dataset ID
Dataset name
Link to sample
Max x | Max y | Min x | Min y | Delta Ep | I lambda0 | I ratio

## File053.2_bagit
Measurement type | Cyclic Voltammetry
Measurement type ID
Sample ID
Analysis ID
Dataset ID
Dataset name
Link to sample
Max x | Max y | Min x | Min y | Delta Ep | I lambda0 | I ratio

## File053.3_bagit
Measurement type | Cyclic Voltammetry
Measurement type ID
Sample ID
Analysis ID
Dataset ID
Dataset name
Link to sample
Max x | Max y | Min x | Min y | Delta Ep | I lambda0 | I ratio